[image: image1]

Complete One Checklist per Sensor
Pre-Work

Date of Test: __________________

Shaft Identifier: ________________

Shaft Material: ______________

Shaft O.D.: ___________ mm/Inch 

Shaft I.D.: ____________ mm/Inch

Modulus of Elasticity: ________

Poisson’s Ratio: _______________

Strain Gage Factor ______________

Transmitter Gain: __________ 

System Gain__________

Full Scale Torque (per Binsfeld Calculator):  _______________

Strain Gage Install  (Bondable Torque-Pattern Gage with GAK-2-200 Application kit)

[image: image28.png]— be%l/ - Good. Better. Binsfeld.

BINSFELD ENGINEERING INC.

Leading Technology in Rotary Torque and Temperature Transmitters
e ———————————————————————————————
4571 W. MacFarlane Rd. = Maple City, Ml 49664 = USA
Phone: (+1) 231.334.4383 = Fax: (+1) 231.334.4903 = Toll Free: 800.524.3327 = www.binsfeld.com = www.temptrak.com



 Degrease Shaft (If necessary)


[image: image2] Rough sand 2in x 2in spot on shaft with 220 grit 


[image: image3] Finish sand with 400 grit


[image: image4] Mark straight line along axis of shaft


[image: image5] Apply M-Prep Conditioner and Wet-Sand with 400 grit


[image: image6] Rinse with M-Prep Conditioner 

[image: image7] Rinse with M-Prep Neutralizer


[image: image8] Perform visual inspection on gage pre-install


[image: image9] Prepare gage with tape


[image: image10] Apply catalyst to gage and let dry


[image: image11] Adhere gage to shaft with M-Bond 200


[image: image12] Gage visual inspection post-install. Ensur gage adhered.

[image: image13] Attach leadwires

Wire Resistances

a. RB_______ Ω (350.0Ω Nominal) Is resistance to shaft ∞?  
[image: image14]
b. GW_______ Ω (350.0Ω Nominal) Is resistance to shaft ∞?  
[image: image15]
c. RW_______ Ω (262.5Ω Nominal) Is resistance to shaft ∞?  
[image: image16]
d. BW_______ Ω (262.5Ω Nominal) Is resistance to shaft ∞?  
[image: image17]
e. RG_______ Ω (262.5Ω Nominal) Is resistance to shaft ∞?  
[image: image18]
f. BG_______ Ω (262.5Ω Nominal) Is resistance to shaft ∞?  
[image: image19]

[image: image20] Remove Flux


[image: image21] Coat Gage with M-Coat A

Telemetry Install

Transmitter Serial No.: __________

Receiver Serial No.: __________

Channel No.:__________        If applicable, channel unique from other systems?  
[image: image22]   


[image: image23] Label receiver with channel no., gain setting, and identifier.


[image: image24] Confirm receiver input is set to transmitter


[image: image25] Confirm receiver autozero is set to “Off”

Filter: __________ Hz

Offset (prior to autozero): _________

Shunt Readings:

g. Ref 1: ____________

h. Ref 2: ____________ (If applicable.)


[image: image26] Confirm acquisition system and receiver settings are correct


[image: image27] Autozero the receiver

